| Building Component | Typical life (median) | Range | Minimum life (median) | Maximum life (median) |
| --- | --- | --- | --- | --- |
| Gas/Oil Fired Boilers: Packaged Water Boilers: Gas or oil fired; on/off or high/low type | 20 years | 5 to 40 years | 10 years | 25 years |
| Pitched Roof Structure: Timber: Generally | 75 years | 5 to 100 years | 50 years | 100 years |
| Roof Drainage: PVCu: Rainwater pipes/gutters/roof outlets | 25 years | 5 to 100 years | 20 years | 30 years |
| LV Cables: Un-Armoured Cable: PVC insulated and sheathed single core cables: 300/500 Volt grade: solid or stranded copper | 30 years | 10 to 80 years | 20 years | 35 years |
| Floor Finishes: Insitu Screed: Latex Cement: 5mm; two coats; to concrete base | 20 years | 1 to 100 years | 15 years | 30 years |

Source: BCIS Life Expectancy of Building Components 2006

Taken from Life Expectancy of Building Components: A practical guide to surveyors’ experience of buildings in use.*